1.Title
Check for Tahoma fonts everywhere
And for bullet points
Synthesis of Biochemical Applications on Digital Microfluidic Biochips with
Operation Variability
Mirela Alistar, Elena Maftei, Paul Pop, Jan Madsen
Technical University of Denmark, Lyngby

---
2.Biochips
Biochips
Test tubes
Robotics
Microfluidics
Slide source: Krish Chakrabarty, Duke University
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization

---
3. Biochip Architecture
Make my own picture of the chip and the cell
Biochip Architecture
Video source: Duke University
Droplet
Photo-
diode
Input
port
Output port
S3:
Serum
B1:
NaOH
R1: Glucose oxidase
R2: Lactate oxidase
B2:
NaOH
Droplet
Top plate
Bottom plate
Ground electrode
Control electrodes
Insulators
Filler fluid
[Speaker Notes: Fara EWOD .... right-left coordinate]

---
4. Synthesis tasks
Synthesis: Main design tasks
Allocation
Binding
Operation	Area	Time (s)
Mix	2x5	2
Mix	2x4	3
Mix	1x3	5
Mix	3x3	7
Mix	2x2	10
Sensing	1x1	5
Scheduling
Placement
0
4
5
2
8
M1
O1
M2
O2
M3
O3
M4
O5
M5
O6
E. Maftei, P. Pop, J. Madsen, “Tabu search-based synthesis of dynamically reconfigurable digital microfluidic biochips”, 2009
sensor (S1)
M1
M3
M5
[Speaker Notes: We want to build an implementation that can run a biochemical application captured by the graph in the right on a given biochip array here in the left.]

---
Synthesis ...
Un patrat mare pe centru ... cu Elena si reference
Synthesis: Main design tasks
Allocation
Binding
Operation	Area	Time (s)
Mix	2x5	2
Mix	2x4	3
Mix	1x3	5
Mix	3x3	7
Mix	2x2	10
Sensing	1x1	5
E. Maftei, P. Pop, J. Madsen,
“Tabu search-based synthesis of dynamically
reconfigurable digital microfluidic biochips”, 2009
Scheduling
Placement
4
5
8
M1
O1
M2
O2
M3
O3
M4
O5
M5
O6
E. Maftei, P. Pop, J. Madsen, “Tabu search-based synthesis of dynamically reconfigurable digital microfluidic biochips”, 2009
sensor (S1)
M1
M3
M5
[Speaker Notes: In our group we have addressed these tasks and we have proposed synthesis strategies for the case where operations are perfect without faults. And this synthesis has been reported]

---
Motivation: Fault
Reference the pictures
Give examples of paper to handle defects
Motivation: Fault
- Types of faults
  - Permanent
  - T. Xu, K. Chakrabarty, “Functional testing
    of microfluidic biochips”, 2007
  - Parametric
  - Malfunctioning during runtime
  - Faulty operations, ex: unbalanced split
  - High sensitivity to volume variations
    - +- 2% precision for microdialysis
    - +- 10% precision for drug discovery
T. Xu, K. Chakrabarty, “Functional testing of digital microfluidic biochips”, 2007
[Speaker Notes: However faults can happen during the application. We focus on the parametric faults. Parametric – Rosu – bullet roz – done In loc de Solved … pun tot reference-ul – done Types of FAULTS not FAULT - done Motivation: Fault, cu F mare – done Fara maximum k faults – done]

---
Recovery Mechanism
Animation would be nice
Recovery Mechanism
- SPLIT operation
- Transport to sensor
- SENSING operation
  - OK
    OR
  - MERGE operation
  - (Re) SPLIT
Detection
Mix
4.1
Split
3
Recovery
Sensing
7
Merge
6.1
5.1
4.2
Mix
Split
4.2 Split
4.1 Split
7 Merge
3-Sensing
2 - Mix
t+tmix
t
OK
fault
[Speaker Notes: Fara k times – done Fara - Go to 1 – done]

---
Problem formulation
Module Library is not introduced anywhere
Problem Formulation
- Given
  - Fault model
    - k = Maximum number of faults that can occur (given by the designer)
  - Biochip architecture
  - Application
  - Module library
- Determine
  - Fault-tolerant implementation
    - Minimized worst-case completion time
[Speaker Notes: k = Maximum no of faults that can occur in the application (given by the designer)]

---
FT Synthesis
Arrange the text in the middle of the slide
Fault-Tolerant Synthesis Strategy
- Allocation
- Binding
- Placement
- Fault-Tolerant Scheduling Techniques
  - Straightforward Scheduling (SS)
  - Fault-Tolerant Scheduling (FTS)
E. Maftei, 2009
List scheduling
E. Maftei, P. Pop, Jan Madsen, “Tabu search-based synthesis of dynamically reconfigurable digital microfluidic biochips”, 2009
[Speaker Notes: For allocation, B and P we use our previous approach which does not take in account faults Straightforward … Techniques - done Only for the scheduling we take in account faults and we propose 2 fault-tolerant techniques. A scheduling pb is a NP problem and our techniques are based on the good quality heuristic name List Scheduling.]

---
 Scheduling
M1
M2
M3
M4
M5
[Speaker Notes: Here we depict the schedule with a timeline in seconds]

---
Scheduling
 Scheduling
M1
M2
O2
M3
O3
M4
M5
M2
M3

---
 Scheduling
4
5
M1
M2
O2
M3
O3
M4
M5
M1
M3

---
Scheduling ...
 Scheduling
4
5
M1
O1
M2
O2
M3
O3
M4
M5
O4
M1
M3

---
Scheduling...
 Scheduling
4
5
M1
O1
M2
O2
M3
O3
M4
M5
M5
M3

---
Schedulin...
 Scheduling
4
5
M1
O1
M2
O2
M3
O3
M4
M5
M5
M4

---
 Scheduling
4
5
8
M1
O1
M2
O2
M3
O3
M4
O5
M5
O6
M5
M4

---
 Scheduling
4
5
7
M1
O1
M2
O2
M3
O3
M4
O5
M5
O6
M5
M4

---
 Scheduling
4
5
8
7
M1
O1
M2
O2
M3
O3
M4
O5
M5
O6
M5
M4
O7
[Speaker Notes: Callout : Does not take in account faults]

---
Schedulin.
Straightforward Scheduling (SS)
- After each SPLIT insert enough SLACK to recover
- tslack = k x (tsensing + tmerge + tsplit)
SS Schedule for k = 2
O7
O4
[Speaker Notes: K = 2 mare undeva We assume the designer gives the maximum number of faults. We know that they are 2 faults .. and we do not know where they will happen so we have to assume the worst scenario. For SS we assume that 2 faults happen in O4 and]

---
FTS
Fault-Tolerant Scheduling (FTS)
- Generate a FT Graph
- Capture all possible fault scenarios
- Schedule each individual scenario
- At runtime activate the corresponding schedule
k = 1
OK
fault
OK
fault
F
[Speaker Notes: FTS is based on a FT Graph which captures all possible fault scenarios. Highlight the scenario FAULT scenarios in text]

---
Comparison
SS vs FTS
Tolerates 4 faults,
2 in O4, 2 in O7
O7
O4
SS Schedule
Actual scenario:
1 fault in O4, 1 in O7
FTS Schedule for faults in O4 and O7
k = 2
[Speaker Notes: Callout-urile langa ele mutate SPLIT-uri lipsuri K = 2 … proeminent mare cu fulgere Tolerates 4 faults instead of worst case scenario 2 faults in O4, 2 faults in O7 This is inefficient Instead of actual fault scenario … put Schedule for one fault in O4 and one in O7 This is one of the scenario .. another one can be … click These are the longest length schedules]

---
SS vs FTS
Tolerates 4 faults,
2 in O4, 2 in O7
O7
O4
SS Schedule
Actual scenario:
2 faults in O7
FTS Schedule for 2 faults, both in O7
k = 2
[Speaker Notes: Callout-urile langa ele mutate SPLIT-uri lipsuri K = 2 … proeminent mare cu fulgere Tolerates 4 faults instead of worst case scenario 2 faults in O4, 2 faults in O7 This is inefficient Instead of actual fault scenario … put Schedule for one fault in O4 and one in O7 This is one of the scenario .. another one can be … click These are the longest length schedules]

---
Experimental results
Comparison of SS and FTS length
Nodes	Area	s	k = 2 / SS FTS		k = 3 / SS FTS		k = 4 / SS FTS		k = 5 / SS FTS
10	6x6	1	46	41	56	46	66	51	76	53
20	8x8	2	37	29	47	36	57	46	67	56
30	8x12	3	40	36	55	37	70	56	85	76
40	10x8	2	37	33	48	38	58	40	68	45
50	8x12	3	44	38	57	43	73	49	87	51
60	12x10	4	50	45	59	50	65	50	79	52
70	10x12	4	65	60	82	63	102	66	122	74
IVD (25)	10x10	2	36	31	41	36	51	36	61	41
PRT (134)	15x15	6	88	68	114	73	145	76	176	84
FTS has better completion time than SS as k increases
For k = 5, we obtained an average improvement of 52.4%, lowest result: 11.8%, best: 109.5%
[Speaker Notes: Real-time Name the table : comparison of SS and FTS Nr the noduri pentru IVD and PRT Skip the second set of experiments 2 bullets cu concluziile - creste cu numarul de fautluri diferenta - am obtinut 54 (uc rosu) si subliniat in tabel cazul specific]

---
Conclusions
- Biochemical Applications are sensitive to faults
  - Faults can no longer be ignored
- Fault model for SPLIT operation
  - Detection : SENSING
  - Recovery: MERGE + ReSPLIT
- Fault-tolerant Synthesis
  - Allocation, Binding, Placement E. Maftei, 2009
  - Scheduling
    - Straightforward (SS)
      - Simple
      - Makes pessimistic assumptions about fault occurences
    - Fault-tolerant (FTS)
      - Based on FT graph model
      - Takes into account the actual fault pattern
[Speaker Notes: SS - Simple - Make pesimistic assumptions about fault occurence FTS - based on FT graph model - takes into account actual fault occurrence pattern]