1.Title
Online Synthesis for Error Recovery
in Digital Microfluidic Biochips with
Operation Variability
Mirela Alistar, Paul Pop, Jan Madsen
Technical University of Denmark, Lyngby
[Speaker Notes: Good evening! I am Mirela Alistar, phd student at DTU, and together with P. Pop and Jan Madsen, from the same university, we do research in the domain of Digital Microfluidic Biochips. Today I am going to present our Online Synthesis approach for Error Recovery in DMB.]

---
2.Biochips
Biochips
Test tubes
Robotics
Microfluidics
Slide source: Krish Chakrabarty, Duke University
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization
Automation
Integration
Miniaturization
[Speaker Notes: As you have just heard from my previous speakers, Biochips are miniaturized devices, designed to replace the traditional lab-equipment. There are different types of biochips, an older generation that uses continuos glow, and the digital biochips that use discrete amounts of fluids, called droplets. Our interest is in the Digital Microfluidic biochips.]

---
Droplet-based Biochips
Biochip from Duke University
Digital Microfluidic Biochips (DMB)
Input
port
Output
port
Sensor

---
3. Biochip Architecture
Droplet-based Biochips
Digital Microfluidic Biochips (DMB)
Input
port
Output
port
Sensor
Droplet
Ground Electrode
Top Plate
Bottom Plate
Filler Fluid
Hydrophobic Insulation
Control Electrodes
[Speaker Notes: A DMB is represented, in a simplified way, like a matrix of identical units, called 'cels'. Here we have a 8x7 biochips, with a total of 56 cells. The structure of a cell is presented in the left side of the slide. [You can see that the cell is formed of two electrodes, a the bottom electrode and the top ground electrode. The electrodes are separated from the exterior by 2 glass plates, and from the droplets by insulating layers. The droplet is sandwiched between the two electrodes and it can be surrounded by a filler fluid such as silicone oil or air. The size of the droplet is big-enough to overlap the neighboring electrodes.] The droplet movement from one cell to another is based on EWOD principle. When electrical voltage is applied on the left electrode, while the middle electrode is turned off, the droplets moves to the left. A droplet can be split into two, if … The rectangular matrix representation of a biochip is a simplified one, as the real-life biochips can have as well non-regular shapes.]

---
Biochip Architecture
Video source: Duke University
Droplet
Ground Electrode
Top Plate
Bottom Plate
Filler Fluid
Hydrophobic Insulation
Control Electrodes
[Speaker Notes: Here you can watch the droplets movement on such a non-regular biochip. The video was provided by Duke University. As you can see, in order to be mixed, two droplets are transported to the same cells, and then moved together in a pattern for a period of time.]

---
Offline Synthesis Flow
Biochip
Microcontroller
Computer
Offline
Synthesis
Electrode
Actuation
Sequence
Input
port
Output
port
Mixing Module
Sensor
[Speaker Notes: In the previous research, the actions that manipulate the droplets on the biochip are determined according to the synthesis results. The synthesis is performed offline and its results are stored in a microcontroller memory as an electrode activation sequence.]

---
Online Synthesis Flow
Biochip
Computer
Microcontroller
Offline
Synthesis
Electrode
Actuation
Sequence
Input
port
Output
port
Mixing Module
Online
Synthesis
 Algorithm
[Speaker Notes: We propose an online synthesis strategy that reacts during the execution of the biochemical application, whenever errors are detected. The electrode activation sequence is updated according to the results of our online synthesis, so that it recovers from the error. Since it is done online, it also better exploits the biochip's resources.]

---
4. Synthesis tasks
Synthesis: Main design tasks
Allocation
Binding
Operation	Area	Time (s)
Mix	2x5	2
Mix	2x4	3
Mix	1x3	5
Mix	3x3	7
Mix	2x2	10
Detection	1x1	30
Placement
Scheduling
M1
0
3
6
8
O5
O6
M1
O7
M2
M2
Sensor
(S1)
O2
O1
O4
O3
O5
O7
O6
source
sink
[Speaker Notes: Through synthesis we understand building an implementation that can run a biochemical application captured by the graph in the left on a given biochip array here in the right. [A biochemical application is modeled by a graph. Each node represents a fluidic operation such as mixing, spliting, dilution, etc. The edges between them represent the dependencies. For example, operation .... has to wait for operation … before it can start executing. Each operation is executed in a determined biochip area called a module. Based on experiments, researchers characterize a module library such as the one in this table, that contains the area and the time for each operation.] A module represents the biochip area needed for an operation to execute. Each module has a corresponding execution time determined experimentally and capture in a module library. The first synthesis task is Allocation, during which we decide on which modules from the library are we going to use. Then, each operation is bound to one of this modules. During placement, the positions of the modules on the biochip are decided. Here, module M1 is placed on the top part of the biochip. The last step is scheduling, when the order of operations is determined. A way of depicting the schedule is using a Gantt diagram, like this one. The time axis is expressed in seconds, and each operation is represented like a rectangle with the length equal to the corresponding execution time.]

---
Motivation: Fault
Motivation: Fault
- Types of faults
  - Permanent
  - T. Xu, K. Chakrabarty, “Functional testing
    of microfluidic biochips”, 2007
  - E. Maftei, P. Pop, “Droplet-aware Module-Based
    Synthesis for Fault-Tolerant Digital
    Microfluidic Biochips”, 2012
Parametric
  - Malfunctioning during runtime
  - Faulty operations, ex: unbalanced split
  - High sensitivity to volume variations
    - +- 2% precision for microdialysis
    - +- 10% precision for drug discovery
  - Zhao, K. Chakrabarty, “Integrated Control-Path Design and Error
        Recovery in the Synthesis of Digital Microfluidic Lab-on-Chip”
Recovery
0
3
O5
?
O6
M1
O7
M2
Error
T. Xu, K. Chakrabarty, “Functional testing of digital microfluidic biochips”, 2007
[Speaker Notes: However faults can happen during the application. The previous presentation discussed aspects of handling the permanent faults. We focus on the parametric faults, precisely the ones that concern volume variability. Unexpected volume variations can happen due to malfunctioning during runtime, or to other factors such as un unbalanced split. Errors during mixing can occur due to evaporation or adsorption at electrode surface. The error propagates from one operation to another, and might lead to the situation in which the final droplet has such a deviation in volume that the bioassay's results are compromised. Biochemical applications have high sensitivity to volume variations. Like … We can conclude that it is of high importance, for the reliability of biochemical applications, to detect the errors and recover from them. [In previous work on this domain, the error recovery actions are determined offline and are then applied online when a fault is detected. In … (FTS paper), they use a checkpointing strategy to store extra-droplets that are going to be used in case an error occurs. The recovery and the generation of droplets are determined offline based on error analysis probabilities]]

---
Error Detection
source
Input
port
Sensing
O1
O2
O8
Output
port
O4
O3
O5
err
not err
O6
O7
Sensor
sink
[Speaker Notes: There are several sensors available that can measure the volume of a droplet. They are used to detect if the droplet has an erroneous volume. We call sensing the operation that takes the droplet to such a sensor to have its volume measured. After a sensing operations, we can have two alternative situations: error, if the volume is outside the expected boundary, or not error, if the volume corresponds to the expectations.]

---
Fault-tolerant Application Model
source
O2
O1
O5
O8
R8
Error Analysis
Recovery
D8
[Zhao*]
C8
O4
O3
O6
O7
O9
R9
C9
sink
(a)G0 (V,E)
(b)G+
(c)G
Zhao, “Integrated Control-Path Design and Error Recovery in the Synthesis of Digital Microfluidic Lab-on-Chip”
O2
O1
O4
O3
O5
O7
O6
source
sink
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
not err
err
err
not err
[Speaker Notes: We first propose a fault-tolerant application model, derived from the initial application graph, which captures the sensing operations needed to detect an error and the subgraphs that have to be re-executed for recovery. [The sensing operations are introduced based on an error propagation analysis.] Our model is general enough to capture both time- and space-redundant subgraphs.]

---
Error Analysis
source
O1
O2
E_Mix = 10"%"
E_Ds = E_Dlt = E_Slt = 8"%"
E_Thr = 15"%"
O3
O4
i)
ii)
iii)
iv)
v)
%epsilon_Ds = E_Ds
O5
%epsilon_Trans = sqrt{I^2 + E_Trans^2}
O6
O7
%epsilon_Slt = sqrt{I^{2}+(2 E_Slt)^2}
sink
%epsilon_Mix = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + E_Mix^2}
%epsilon_Dlt = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + (2 E_Dlt)^2}
Zhao, “Integrated Control-Path Design and Error Recovery in the Synthesis of Digital Microfluidic Lab-on-Chip”
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
[Speaker Notes: We use the error analysis model used in previous research Taylor, to determine where to insert the error detection operations. In Control-Path [Zhao, 2010] they derive a set of equations that calculates for each type of operation the output error taking into account the input errors and the intrinsic error. In equation V, for dilution operation, the input errors I1 and I2 are the output errors at the input operations for dilution. Edlt it the instrinsic error. The intrinsic error is characteristic to each operation and represents the error range associated with it, in regards to volume variations. For example, a 8% for dispensing, means that the dispensed volume is between 92 and 108 %.]

---
Error Analysis
source
O1
8%
O2
8%
E_Mix = 10"%"
E_Thr = 15"%"
E_Ds = E_Dlt = E_Slt = 8"%"
O3
O4
i)
ii)
iii)
iv)
v)
%epsilon_Ds = E_Ds
O5
%epsilon_Trans = sqrt{I^2 + E_Trans^2}
O6
O7
%epsilon_Slt = sqrt{I^{2}+(2 E_Slt)^2}
sink
%epsilon_Mix = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + E_Mix^2}
%epsilon_Dlt = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + (2 E_Dlt)^2}
Zhao, “Integrated Control-Path Design and Error Recovery in the Synthesis of Digital Microfluidic Lab-on-Chip”
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
[Speaker Notes: I will illustrate how the error analysis is applied.]

---
Error Analysis
source
O1
8%
O2
8%
E_Mix = 10"%"
E_Thr = 15"%"
E_Ds = E_Dlt = E_Slt = 8"%"
O3
O4
i)
ii)
iii)
iv)
v)
%epsilon_Ds = E_Ds
O5
17%
%epsilon_Trans = sqrt{I^2 + E_Trans^2}
O6
O7
%epsilon_Slt = sqrt{I^{2}+(2 E_Slt)^2}
sink
%epsilon_Mix = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + E_Mix^2}
%epsilon_Dlt = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + (2 E_Dlt)^2}
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
[Speaker Notes: Fara k times – done Fara - Go to 1 – done]

---
Error Analysis
source
O1
O2
E_Mix = 10"%"
E_Thr = 15"%"
E_Ds = E_Dlt = E_Slt = 8"%"
O3
8%
O4
i)
ii)
iii)
iv)
v)
8%
%epsilon_Ds = E_Ds
O5
0%
%epsilon_Trans = sqrt{I^2 + E_Trans^2}
O6
O7
10.7%
%epsilon_Slt = sqrt{I^{2}+(2 E_Slt)^2}
16.5%
sink
%epsilon_Mix = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + E_Mix^2}
%epsilon_Dlt = sqrt{(0.5 I_{1})^{2}+ (0.5 I_{2})^{2} + (2 E_Dlt)^2}
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
[Speaker Notes: Fara k times – done Fara - Go to 1 – done]

---
Recovery
source
O2
O1
O5
Recovery
O8
R8
R8
R9
D8
C8
O4
O3
O6
O7
O9
R9
C9
sink
O2
O1
O4
O3
O5
O7
O6
O8
O9
source
sink
not err
err
err
not err
[Speaker Notes: The recovery subgraphs contain the necessary operations for the application to recover from an error. The recovery subgraphs are depicted as blue rectangles, like R9 and R8 in the Figure here. We insert the recovery subgraphs in the application graph, according to a certain recovery scheme. We propose two recovery approaches: time redundancy and space redundancy.]

---
Time redundancy
source
O2
O1
Recovery
3
6
0
O5
O5
O6
R9
O7
M1
O8
R8
S1
O9
O8
D8
C8
O4
O3
O6
O7
source
O9
O2
O1
O5
=
O3
R9
R9
O11
O6
C9
Store O5
sink
O9
sink
not err
err
err
not err
O2
O1
O4
O3
O5
O7
O6
source
sink
[Speaker Notes: Time redundancy executes the recovery subgraph after the error was detected. In case an error is detected by sensing O9, this is the recovery subgraph that is executed. The recovery subgraph R9 is introduce in the graph on the erroneous edge from O9, since it is going to be executed only in case an error was detected by O9. In this case, the erroneous droplet is discarded and the operations from R9 are executed.]

---
Space redundancy
source
O2
O1
Recovery
3
0
O5
O5
O6
O7
M1
O8
R8
R8
M2
D8
S1
O8
C8
O4
O3
source
source
O6
O7
O2
O1
O1
O2
O9
O5
O3
O4
O5
O8
R9
=
R8
O6
O7
C9
R8
(time)
sink
C8
sink
sink
not err
err
err
not err
err
not err
[Speaker Notes: The other recovery mechanism proposed, is space redundancy. The recovery subgraph is executed speculatively on the free space on the biochip. For O8 we decided to recover using space-redundancy . The space-redundant subgraph R8, depicted here, is introduced in the application graph connected to the source node. The recovery operations are executed speculatively on the free space on the biochip. If an error is detected during O8, the erroneous droplet is discarded, and it is replaced in a short time by the correct droplet produced by R8. The recovery time is reduced considerably, in comparison with time-redundancy approach. The tradeoff for using space-redundancy is that in case of no error, the application completion time is increased. The redundant droplets produced by R8 are not discarded if no error is detected during O8. They are stored on the biochip to be used for further recovery if needed.]

---
Problem formulation
Problem Formulation
- Given
  - Fault model
    - Intrinsic error limits
    - Error threshold
    - Recovery subgraphs
  - Biochip architecture
  - Application Graph
  - Module library
- Determine
  - Online Fault-tolerant implementation
    - Minimized worst-case completion time

---
Fault-Tolerant Synthesis Flow
Biochip
Computer
Microcontroller
Offline
Synthesis
Electrode
Actuation
Sequence
Input
port
Output
port
Mixing Module
Online
Synthesis
 Algorithm
[Speaker Notes: We propose an online synthesis strategy that reacts during the execution of the biochemical application, whenever errors are detected. The electrode activation sequence is updated according to the results of our online synthesis, so that it recovers from the error. Since it is done online, it also better exploits the biochip's resources.]

---
Offline Synthesis
source
O1
O2R
O2
O1R
O5R
Protection border
O5
O8R
Sensor
(S1)
O8
C8R
(b)Placement at t=0
(d) t=6
(c) t=3
D8
O4
O3
C8
6
0
9
3
O7
O6
O5
O6
O7
M1
O5R
M2
O9
S1
O9
O8
C9
(e) Schedule
(a) G
sink
M1
M1
M2
M2
M1
not err
err
not err
not err
[Speaker Notes: Our approach has two steps: 1. an offline synthesis and 2. an online synthesis approach that uses ListScheduling alg to minimize recovery. We run the offline synthesis on the fault-tolerant graph that we obtain after inserting the the error detection and the recovery subgraph in the initial application graph. This is the graph given for synthesis. The space-redundant subgraph R8 is explicited and the time-redundant subgraph R9 is not taken into account at synthesis since it executes only when an error is detected.]

---
Online Synthesis (ONS)
source
O2
O1
0
3
5
8
10
M1
O5
O6
O5
Space
M2
O5R
O7
O8
Error on O8
R8
S1
O8
O9
O8R
D8
C8
O4
O3
O6
O7
6
9
3
0
11
O9
O5
O6
O7
M1
Time
O5R
O6R
M2
R9
Error on O9
S1
O9
O9R
O8
C9
sink
Fast Synthesis
(b) Recovery using ONS
not err
err
err
not err
[Speaker Notes: ONS reacts to the multiple errors at the time they occur. There are 3 possible situations: 1. error is detected by sensing operation and has a space-redundant subgraph associated with it. The incorrect droplet is discarded and the next operation waits for the recovery subgraph to finish executing. The droplet produced by the recovery subgraph is then used. 2. The sensing operation has a time-redundant subgraph associated with it. The bioassay execution is stopped. A new graph is built from the remaining unexecuted operations together with the time-redundant recovery subgraph. A fast-synthesis , based on LS, is run on this new graph. The results of the fast synthesis replace the old electrode actuation sequence. The LS algorithm is very fast, feature needed by the synthesis in order to be executed online. ONS will also try to reduce the completion time by using redundant droplet available on biochip. This droplets can be created by a space-redundant subgraph, or by a split operation. 3. No error – no action]

---
ONS vs FTS
Time
Space
0
3
5
8
10
M1
O5
O6
ONS [us]
M2
O5R
O7
S1
O8
O9
O8R
0
3
6
9
12
14
0
3
9
11
6
O5
O6
O5R
O6R
O5
O5R
O6
M1
M1
FTS [Zhao*]
O7
O7
O7
M2
M2
S1
O9R
S1
O8
O9
O8
O8R
O9
Error on O9
Error on O8
* Zhao “Integrated Control-Path Design and Error Recovery in Synthesis of Digital Microfluidic Lab-on-Chip”
(b) Recovery using ONS
M1
M2
S1
0
3
O5
O5R
O6
6
9
O7
O8
O9
O9R
11
O6R
[Speaker Notes: We compared our results with the ones obtained by previous research. The recovery mechanism proposed in Zhao, we named FTS (Fault-Tolerant Synthesis). They use the error analysis model to insert checkpoints. At each checkpoint they check for errors, run a predetermined recovery subroutine in case of errors and store a copy intermediate droplet with the correct volume for further use. The allocation, binding and placement for the recovery operations are determined offline as well as the generation of copy droplets. When an error is detected, the currently running operations on the biochip are interrupted, the droplets are moved to on-chip storage units and the recovery subgraph is executed. You can see here that operation O7 is interrupted and the recovery subgraph, consisting of O5 and O6 is executed. As you can see, our synthesis produces better results. Part of the improvements comes from using the free space on biochip during space-redundancy recovery. Another advantage is given by the online feature. The recovery subgraph re-uses redundant droplets and the online synthesis produces new binding and placement that can better exploit the resources on the biochip.]

---
Experimental results
App.	Area	Ethr / (%)	Sensing / Ops.	Space / Subgr.	Time / Subgr.	TS(G0) / (s)	FTS / (s)	ONS / (s)
PCR	7x7	9	7	1	6	12	min 14 / max 17 / avg 14.92	min 12 / max 14 / avg 13.85
IVD	7x7	10	9	1	8	15	min 14 / max 17 / avg 14.92	min 15 / max 19 / avg 16.44
CPA	10x10	15	39	1	38	36	min 14 / max 17 / avg 14.92	min 38 / max 43 / avg 39.34
Average overhead added by ONS (%) is 15.4 (PCR), 9.6 (IVD), 13.38 (CPA)
[Speaker Notes: Real-time Name the table : comparison of SS and FTS Nr the noduri pentru IVD and PRT Skip the second set of experiments 2 bullets cu concluziile - creste cu numarul de fautluri diferenta - am obtinut 54 (uc rosu) si subliniat in tabel cazul specific]

---
Conclusions
- Biochemical Applications are sensitive to faults
  - Parametric faults can result in operation variability
- Fault-tolerant application model
  - Detection : SENSING
  - Recovery: Time- and Space-Redundant Subgraphs
- Online Synthesis
  - Fast: List Scheduling-based
  - Exploits the biochip configuration
[Speaker Notes: SS - Simple - Make pesimistic assumptions about fault occurence FTS - based on FT graph model - takes into account actual fault occurrence pattern]

---
Backup Slides

---
Capacitive Sensor
[Pollack*]
Pollack 2001, Electrowetting-based microactuation of droplets for digital microfluidics

---
Biochip Parameters
[Pollack*]
Pollack 2001, Electrowetting-based microactuation of droplets for digital microfluidics

---
Glucose detection
Fig. 2 Setup for glucose detection
Srinivasan 2003, Clinical diagnostics on human whole blood, plasma, serum, urine, saliva, sweat, and tears on a digital microfluidic platform