Synthesis of Digital Microfluidic Biochips
with Reconfigurable Operation Execution
Elena Maftei
Technical University of Denmark
DTU Informatics
www.dreamstime.com
[Speaker Notes: Leave the droplet picture Hello everybody, and thank for your introduction. The paper I am presenting is about the design optimization of multi-cluster systems implementing hard-real time applications. <click> What is a multi-cluster?]

---
Digital Microfluidic Biochip
Duke University

---
Applications
- Sampling and real time testing of
  air/water for biochemical toxins
- Food testing
- DNA analysis and sequencing
- Clinical diagnosis
- Point of care devices
- Drug development
[Speaker Notes: Ok]

---
Advantages & Challenges
Advantages:
  - High throughput (reduced sample / reagent consumption)‏
  - Space (miniaturization)‏
  - Time (parallelism)‏
  - Automation (minimal human intervention)‏
Challenges:
  - Design complexity
  - Radically different design and test methods required
  - Integration with microelectronic components in future SoCs
    ‏
[Speaker Notes: Ok]

---
Outline
- Motivation
- Architecture
- Operation Execution
- Contribution I
  - Module-Based Synthesis with Dynamic Virtual Devices
- Contribution II
  - Routing-Based Synthesis
- Contribution III
  - Droplet-Aware Module-Based Synthesis
- Conclusions & Future Directions

---
Architecture and Working Principles
    Biochip architecture	Cell architecture
Reservoir
Electrowetting-on-dielectric
Detector
Droplet
Top plate
Ground electrode
Control electrodes
Insulators
Filler fluid
Bottom plate
S2
R2
B
S3
S1
W
R1

---
Microfluidic Operations
- Dispensing
- Detection
- Splitting/Merging
- Storage
- Mixing/Dilution
B

---
Reconfigurability
- Dispensing
- Detection
- Splitting/Merging
- Storage
- Mixing/Dilution
B

---
Reconfigurability
Non-reconfigurable
- Dispensing
- Detection
- Splitting/Merging
- Storage
- Mixing/Dilution
B

---
Reconfigurability
Non-reconfigurable
- Dispensing
- Detection
- Splitting/Merging
- Storage
- Mixing/Dilution
Reconfigurable
B

---
Module-Based Operation Execution
2 x 4 module
B

---
Module-Based Operation Execution
Operation	Area (cells)	Time (s)
Mix	2 x 4	3
Mix	2 x 2	4
Dilution	2 x 4	4
Dilution	2 x 2	5
2 x 4 module
Module library
B

---
Module-Based Operation Execution
2 x 4 module
segregation cells
B

---
Module-Based Operation Execution
- Operations confined to rectangular, fixed modules
- Positions of droplets inside modules ignored
- Segregation cells
B

---
Module-Based Synthesis with Dynamic Virtual Modules

---
 Example
t
Application graph
B1
B2
D1
1
2
9
12
8
3
4
5
6
7
11
13
10
In S1
In B
In S2
In R1
Dilute
Mix
In S3
In B
Dilute
In B
In R2
Dilute

---
 Example
Biochip
Application graph
B1
B2
D1
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
D2(O5)
t
Application graph
B1
B2
D1
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
D4
(O13)
store O5
D3
(O12)
M1
(O6)
t+4
Application graph
B1
B2
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
D4
(O13)
D3
(O12)
Application graph
t+8
B1
B2
M2(O7)
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Schedule
Application graph
Mixer1
Mixer2
Diluter2
Diluter3
Diluter4
O5
O6
O12
O13
O7
store
t
t+8
t+11
Allocation
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t
Application graph
B1
B2
D2(O5)
D1
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t
Application graph
B1
B2
D2(O5)
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t
Application graph
B1
B2
D2(O5)
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t
Application graph
B1
B2
D2(O5)
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
Application graph
B1
B2
D2(O5)
D1
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
M1
(O6)
Application graph
B1
B2
D2(O5)
D1
t
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t+4
Application graph
D3
(O12)
B1
B2
M2 (O7)
D4
(O13)
2 x 2
2 x 2
2 x 4
2 x 2
2 x 4
B1
B2
B1
1
2
9
12
8
3
4
5
6
7
11
13
10

---
 Example
t
t+9
t+4
Allocation
O6
Mixer1
Diluter2
O5
Mixer2
O7
Diluter3
O12
O13
Diluter4
Schedule – operation execution
with dynamic virtual modules
Schedule – operation execution
with fixed virtual modules
Mixer1
Mixer2
Diluter2
Diluter3
Diluter4
O5
O6
O12
O13
O7
store
t
t+8
t+11
Allocation

---
Solution
Tabu Search
- Binding of modules to operations
- Schedule of the operations
  - Placement of modules performed inside scheduling
- Placement of the modules
  - Free space manager based on [Bazargan et al. 2000] that
    divides free space on the chip into overlapping rectangles
List Scheduling
        Maximal Empty Rectangles

---
Dynamic Placement Algorithm
(3,8)
(8,8)
Rect2
(0,4)
D1
(0,0)
(7,0)
B1
B2
Rect1
Rect3

---
Dynamic Placement Algorithm
(8,8)
Rect2
   D2(O5)
(6,4)
(3,4)
D1
(0,0)
(7,0)
B1
B2
Rect1
Rect3

---
Dynamic Placement Algorithm
(8,8)
   D2(O5)
Rect2
(8,4)
Rect1
D1
(6,0)
(4,0)
B1
B2

---
Experimental Evaluation
- Tabu Search-based algorithm implemented in Java
- Benchmarks
  - Real-life applications
    - Colorimetric protein assay
    - In-vitro diagnosis
    - Polymerase chain reaction – mixing stage
  - Synthetic benchmarks
    - 10 TGFF-generated benchmarks with 10 to 100 operations
- Comparison between:
  - Module-based synthesis with fixed modules (MBS)
  - T-Tree [Yuh et al. 2007]
  - Module-based synthesis with dynamic modules (DMBS)

---
Experimental Evaluation
Best-, average schedule length and standard
deviation out of 50 runs for MBS
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area	Time limit (min)	Best (s)	Average (s)	Standard dev. (%)
13 x 13	60	182	189.99	2.90
	10	182	192.00	3.64
	1	191	199.20	4.70
12 x 12	60	182	190.86	3.20
	10	185	197.73	6.50
	1	193	212.62	10.97
11 x 12	60	184	192.50	3.78
	10	194	211.72	14.37
	1	226	252.19	15.76

---
Experimental Evaluation
Best schedule length out of 50 runs for MBS vs. T-Tree
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area (cells x cells)
Best schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
22.91 % improvement for 9 x 9

---
Experimental Evaluation
Average schedule length out of 50 runs for DMBS vs. MBS
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area (cells x cells)
Average schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
7.68 % improvement for 11 x 12

---
Routing-Based Operation Execution

---
Module-Based vs. Routing-Based Operation Execution
B
B
c2
c1

---
Operation Execution Characterization
p90, p180, p0 ?
B
c2
90◦
90◦
0◦
180◦
c1

---
Operation Execution Characterization
Type	Area (cells)	Time / (s)
Mix/Dlt	2 x 4	2.9
Mix/Dlt	1 x 4	4.6
Mix/Dlt	2 x 3	6.1
Mix/Dlt	2 x 2	9.9
Input	-	2
Detect	1 x 1	30
p90, p180, p0
Electrode pitch size = 1.5 mm, gap spacing = 0.3 mm, average velocity rate = 20 cm/s.
0◦
0◦
0◦
0◦
90◦
90◦
90◦
90◦
0◦
0◦
90◦
90◦
90◦
90◦
0◦
180◦
0◦
180◦
0◦
0◦
90◦
90◦
90◦
90◦

---
Operation Execution Characterization
Type	Area (cells)	Time / (s)
Mix/Dlt	2 x 4	2.9
Mix/Dlt	1 x 4	4.6
Mix/Dlt	2 x 3	6.1
Mix/Dlt	2 x 2	9.9
Input	-	2
Detect	1 x 1	30
p90 = 0.1 %
p180 = - 0.5 %
p0 = 0.29 %
p0 = 0.58 %
1
2
Electrode pitch size = 1.5 mm, gap spacing = 0.3 mm, average velocity rate = 20 cm/s.

---
 Example
Application graph
Biochip
1
2
7
10
4
In S1
In R1
Mix
Mix
In R2
3
In S2
8
Mix
Dilute
9
5
6
In S3
In B
11
13
Waste
In R1
12
Mix
B

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 2.04 s
Application graph
B
M2(O7)
M1(O8)

---
Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 6.67 s
Application graph
B
M3(O10)
D1(O9)

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 9.5 s
Application graph
B
M4(O12)
M3(O10)

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
Schedule
Application graph
Mixer1
Mixer3
Mixer2
O8
O9
2.04
12.50
6.67
O12
O10
Diluter1
Mixer4
O7

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 2.03 s
Application graph
B
8
3
4
4
4
9
6
6
6
5
1
1
1
2
2
7

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 4.20 s
Application graph
B
13.58 times
7
8
9

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 4.28 s
Application graph
B
8
7
8
7
8
8
10
7
7
7
e
9
13
12
e
13
13
13
13
13
13
13
11
11
11
11

---
 Example
B
4
1
2
3
5
6
8
9
7
1 x 4
1 x 4
2 x 4
11
10
12
13
1 x 4
2 x 4
t = 6.34 s
Application graph
B
10.33 times
10
12

---
 Example
Schedule – module-based operation execution
Schedule – routing-based operation execution
Mixer1
Mixer3
Mixer2
O8
O9
2.04
12.50
6.67
O12
O10
Diluter1
Mixer4
O7
2.03
6.35
4.20
O10
O7
O8
O9
O12

---
 Solution
Merge
Mix
1
2
7
10
4
In S1
In R1
Mix
Mix
In R2
Source
3
In S2
8
Mix
Dilute
Sink
9
5
6
In S3
In B
11
13
Waste
In R1
12
Mix

---
 Solution
Merge
Minimize the time
until the droplets
meet
Mix
Minimize the completion
time for the operation
1
2
7
10
4
In S1
In R1
Mix
Mix
In R2
Source
3
In S2
8
Mix
Dilute
Sink
9
5
6
In S3
In B
11
13
Waste
In R1
12
Mix

---
 Solution
Greedy Randomized Adaptive Search Procedure (GRASP)
B
3
3
3
2
1

---
 Solution
Greedy Randomized Adaptive Search Procedure (GRASP)
- For each droplet:
  - Determine possible moves
  - Evaluate each move
    - Merge: minimize Manhattan distance
    - Mix: maximize operation execution
  - Make a list of the best N moves
  - Perform a random move from N
B
3
3
3
2
1

---
 Solution
Greedy Randomized Adaptive Search Procedure (GRASP)
- For each droplet:
  - Determine possible moves
  - Evaluate each move
    - Merge: minimize Manhattan distance
    - Mix: maximize operation execution
  - Make a list of the best N moves
  - Perform a random move from N
B
3
3
3
2
1

---
 Solution
Greedy Randomized Adaptive Search Procedure (GRASP)
- For each droplet:
  - Determine possible moves
  - Evaluate each move
    - Merge: minimize Manhattan distance
    - Mix: maximize operation execution
  - Make a list of the best N moves
  - Perform a random move from N
B
3
3
3
2
1
1

---
 Solution
Greedy Randomized Adaptive Search Procedure (GRASP)
- For each droplet:
  - Determine possible moves
  - Evaluate each move
    - Merge: minimize Manhattan distance
    - Mix: maximize operation execution
  - Make a list of the best N moves
  - Perform a random move from N
B
3
3
3
2
1
1
3

---
Experimental Evaluation
- GRASP-based algorithm implemented in Java
- Benchmarks
  - Real-life applications
    - Colorimetric protein assay
  - Synthetic benchmarks
    - 10 TGFF-generated benchmarks with 10 to 100 operations
- Comparison between:
  - Routing-based synthesis (RBS)
  - Module-based synthesis with fixed modules (MBS)

---
Experimental Evaluation
Average schedule length out of 50 runs for RBS vs. MBS
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area (cells x cells)
Average schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
44.95 % improvement for 10 x 10
44.95% improvement for 10 x 10

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
B1
B2
R3
1
residues

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
w1
B1
B2
R3
1

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
w1
B1
B2
R3
1

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
w1
B1
B2
R3
1

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
Partition2
w2
w1
Partition1
B1
B2
R3
1

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
Partition2
w2
w1
Partition1
B1
B2
R3
1
B1
B2
1
R3

---
Routing-Based Operation Execution - Conclusions
Improved completion time compared to module-based synthesis
Challenge: contamination
w2
Partition2
w2
w1
w1
Partition1
B1
B2
R3
1
B1
B2
1
R3

---
Droplet-Aware Operation Execution
without Contamination

---
 Example
Application graph
Biochip
1
2
9
12
In S1
In B
8
In S3
3
4
In R1
5
6
7
In B
11
13
10
In R2
Dilute
Dilute
Mix
Dilute
In S2
Mix
In B
B1
B2

---
Example
1
2
3
4
In S1
In S2
In R1
B1
5
6
Dilute
Mix
2 x 4
2 x 4
7
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
Application graph
Biochip
B1
B2

---
 Example
1
2
3
4
In S1
In S2
In R1
B1
5
6
D1
(O5)
M1
(O6)
Dilute
Mix
2 x 4
2 x 4
7
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
Application graph
t = 2 s
B1
B2

---
 Example
1
2
3
4
In S1
In S2
In R1
D3(O13)
B1
5
6
Dilute
Mix
2 x 4
2 x 4
7
D2(O12)
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
Application graph
t = 4.9 s
M2 (O7)
B1
B2

---
 Example
1
2
3
4
In S1
In S2
In R1
B1
5
6
Dilute
Mix
2 x 4
2 x 4
7
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
Application graph
Schedule
Diluter1
O5
O12
2
11
4.9
O7
O6
O13
Diluter2
Diluter3
Mixer1
Mixer2

---
 Example
1
2
3
4
In S1
In S2
In R1
B1
5
6
D1
(O5)
M1
(O6)
Dilute
Mix
2 x 4
2 x 4
7
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
Application graph
t = 2 s
B1
B2

---
 Example
1
2
3
4
In S1
In S2
In R1
B1
5
6
D1(O5)
M1(O6)
Dilute
Mix
2 x 4
2 x 4
7
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
5
6
Application graph
t = 2 s
B1
B2

---
 Example
1
2
3
4
In S1
In S2
In R1
D3(O13)
B1
5
6
M2(O7)
Dilute
Mix
2 x 4
2 x 4
13
7
D2(O12)
Mix
1 x 4
8
9
10
11
In S3
B1
B2
12
13
Dilute
Dilute
2 x 3
2 x 3
7
12
Application graph
t = 4.17 s
B1
B2

---
Example
1
2
3
4
In S1
In S2
In R1
B1
2
4.17
6.67
5
6
Dilute
Mix
2 x 4
2 x 4
O5
Diluter1
7
Mixer1
O6
Mix
1 x 4
8
9
10
11
Mixer2
In S3
O7
B1
B2
Diluter2
O12
12
13
Diluter3
Dilute
O13
Dilute
2 x 3
2 x 3
Application graph
Schedule

---
 Example
2
4.17
6.67
O5
Diluter1
Mixer1
O6
Mixer2
O7
Diluter2
O12
Diluter3
O13
Schedule – module-based operation execution
Schedule – droplet-aware operation execution
Diluter1
O5
O12
2
11
4.9
O7
O6
O13
Diluter2
Diluter3
Mixer1
Mixer2

---
Solution
- Location of modules determined using Tabu Search
- Greedy movement of droplets inside modules
- Routing of droplets between modules and between modules and I/O ports determined using GRASP
[Speaker Notes: Ok]

---
Droplet-Aware Operation Execution
D3(O13)
M2(O7)
D2(O12)
B1
B2

---
Droplet-Aware Operation Execution
B1
B2
13
13
13
13
12
12
12
12
7
7
7
7

---
Droplet-Aware Operation Execution
B1
B2
13
13
13
13
12
12
12
12
7
7
7
7

---
Droplet-Aware Operation Execution
B1
B2
13
13
13
13
12
12
12
12
7
7
7
7
7

---
Experimental Evaluation
- Algorithm implemented in Java
- Benchmarks
  - Real-life applications
    - In-vitro diagnosis
    - Colorimetric protein assay
  - Synthetic benchmarks
    - 3 TGFF-generated benchmarks with 20, 40, 60 operations
- Comparison between:
  - Droplet-aware module-based synthesis (DAS)
  - Module-based synthesis (MBS)

---
Experimental Evaluation
Average schedule length out of 50 runs for DAS vs. MBS
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area (cells x cells)
Average schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
21.55 % improvement for 13 x 13
21.55% improvement for 13 x 13

---
Experimental Evaluation
- Algorithm implemented in Java
- Benchmarks
  - Real-life applications
    - Colorimetric protein assay
  - Synthetic benchmarks
    - 3 TGFF-generated benchmarks with 20, 40, 60 operations
- Comparison between:
  - Droplet-aware module-based synthesis (DASC)
  - Routing-based synthesis (RBSC)
    with contamination avoidance

---
Experimental Evaluation
Average schedule length out of 50 runs for DASC vs. RBSC
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
Area (cells x cells)
Average schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
11.19 % improvement for 14 x 14
11.19% improvement for 14 x 14

---
Contributions
- Tabu Search-based algorithm for the module-based synthesis with fixed devices [CASES09]
- Module-based synthesis with virtual devices [CASES09]
- Module-based synthesis with non-rectangular virtual devices [DAEM10]
- Analytical method for operation execution characterization [CASES10]
- ‏Routing-based synthesis [CASES10] + contamination [DAEM, submitted]
- Droplet-aware module based synthesis [JETC, submitted]
- ILP formulation for the synthesis of digital biochips [VLSI-SoC08]

---
Conclusions
- Proposed several synthesis techniques for DMBs
- Considered the reconfigurability characteristic of DMBs
- Shown that by considering reconfigurability during operation
  execution improvements in the completion time of
  applications can be obtained

---
Future Directions
B1
B2
M1
M2

---
Future Directions
Module-Based Synthesis with Overlapping Devices
B1
B2
M1
M2
M1
M2
B1
B2

---
Future Directions
Fault-Tolerant Module-Based Synthesis
M2
(O2)
M2
(O2)
Faulty cell
M1
(O1)
M1
(O1)
B1
B2
B1
B2
M3(O3)

---
Future Directions
Fault-Tolerant Module-Based Synthesis
M2
(O2)
M2
(O2)
Faulty cell
M1
(O1)
M1
(O1)
B1
B2
B1
B2
M3(O3)
M3(O3)

---
Back-up slides

---
Electrowetting

---
Surface Tension
Imbalance of forces between molecules
at an interface (gas/liquid, liquid/liquid,
gas/solid, liquid/solid)

---
Dispensing

---
Dispensing

---
Dispensing

---
Splitting

---
Mixing

---
Capacitive sensor

---
Design Tasks
Operation	Area(cells)	Time(s)
Mix	2 x 2	10
Mix	1 x 3	5
Dilute	1 x 3	8
Dilute	2 x 5	3
[Speaker Notes: Make only one slide out of this | make a proper table | animation with all coming one by one...]

---
Design Tasks
Operation	Area(cells)	Time(s)
Mix	2 x 2	10
Mix	1 x 3	5
Dilute	1 x 3	8
Dilute	2 x 5	3
B
[Speaker Notes: Make only one slide out of this | make a proper table | animation with all coming one by one...]

---
Experimental Evaluation
Quality of the solution compared to classical operation execution
Best out of 50
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
DMBS vs. FMBS
Area (cells x cells)
Best schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
9.73% improvement for 11 x 12

---
Experimental Evaluation
Quality of the solution compared to classical operation execution
Best out of 50
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
RBS vs. MBS
Area (cells x cells)
Best schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
44.63% improvement for 10 x 10

---
Experimental Evaluation
Quality of the solution compared to classical operation execution
Best out of 50
Colorimetric protein assay
Colorimetric protein assay
Colorimetric protein assay
DAS vs. MBS
Area (cells x cells)
Best schedule length (s)
Colorimetric protein assay
Colorimetric protein assay
15.76% improvement for 13 x 13

---
Future Directions
Pin-Constrained Routing-Based Synthesis
3
1
2
B1
B2

---
Future Directions
Pin-Constrained Routing-Based Synthesis
3
1
2
B1
B2

---
Future Directions
Pin-Constrained Routing-Based Synthesis
3
1
2
B1
B2

---
Microfluidic Operations
Dispensing
- Dispensing
B

---
Microfluidic Operations
- Dispensing
- Detection
B

---
Microfluidic Operations
- Dispensing
- Detection
- Splitting/Merging
B

---
Microfluidic Operations
- Dispensing
- Detection
- Splitting/Merging
B

---
Microfluidic Operations
- Dispensing
- Detection
- Splitting/Merging
- Storage
B

---
Motivational Example (for the first contrib)
1
2
3
4
In B
In S1
In S2
In R1
Operation	Area(cells)	Time(s)
Mix	2 x 4	3
Mix	2 x 2	4
Dilution	2 x 4	4
Dilution	2 x 2	5
Dispense	-	2
5
6
Dilute
Mix
7
Mix
8
9
10
11
In S3
In R2
In B
In B
12
13
Dilute
Dilute
Application graph
Module library

---
Motivational Example(for the 2nd contrib)
Type	Area (cells)	Time / (s)
Mix/Dlt	2 x 4	2.9
Mix/Dlt	1 x 4	4.6
Mix/Dlt	2 x 3	6.1
Mix/Dlt	2 x 2	9.9
Input	-	2
Detect	1 x 1	30
Application graph
Module library
1
2
7
10
4
In S1
In R1
Mix
Mix
In R2
Source
3
In S2
8
Mix
Dilute
Sink
9
5
6
In S3
In B
11
13
Waste
In R1
12
Mix

---
 Example(for the 3rd contrib)
Type	Area (cells)	Time / (s)
Mix/Dlt	2 x 4	2.9
Mix/Dlt	1 x 4	4.6
Mix/Dlt	2 x 3	6.1
Mix/Dlt	2 x 2	9.9
Input	-	2
Detect	1 x 1	30
Application graph
Module library
1
2
9
12
In S1
In B
8
In S3
3
4
In R1
5
6
7
In B
11
13
10
In R2
Dilute
Dilute
Mix
Dilute
In S2
Mix
In B